## Slide 1
Martha Hoffmann
Session 5
RLI, 19.09.2019
© Reiner Lemoine Institut
Oemof Workshop Week E-Lands MVS

## Slide 2: Introducing words
Getting to know the
Multi-Vector Simulator (MVS)
All workshop contents at: https://github.com/smartie2076/oemof_workshop
Notes: Erhöhte Versorgungssicherheit durch Reduzierung der starken Abhängigkeit von fossilen Brennstoffimporten
Effizienzsteigerung durch Lastoptimierung der Dieselgeneratoren  Vermeidung von Teillast
Erhöhte Versorgungssicherheit durch Reduzierung der starken Abhängigkeit von fossilen Brennstoffimporten
Senkung der Stromgestehungskosten durch kompetitive und zuverlässige Technologien

## Slide 3: Agenda
MVS in the context of E-Land
MVS development
Outlook: Next steps of the tool development
Requirements (WP3.2)
Use cases (WP3.1)
Current status of development of the MVS

## Slide 4: Agenda
MVS in the context of E-Land
MVS development
Outlook: Next steps of the tool development
Requirements (WP3.2)
Use cases (WP3.1)
Current status of development of the MVS

## Slide 5: Challenges addressed by E-Land
Sector-coupling of electricity, gas and heat
  …can improve overall system efficiency
  …can provide flexibility and storage
  …can increase system autonomy
Energy sectors should be analyzed, planned and operated in an integrated manner
Integrated perspective from business, societal, systems, operations and planning perspective

## Slide 6: The E-Land Toolbox
Framework, which can couple and co-optimize sector-coupled systems
Multiple layers with different focusses:
  Community engagement
  Business models
  Technical layer, including decision-making support tools
   Layers integrated over the Enterprise Service Bus ESB)

## Slide 7: The E-Land Toolbox

## Slide 8: Agenda
MVS in the context of E-Land
MVS development
Outlook: Next steps of the tool development
Requirements (WP3.2)
Use cases (WP3.1)
Current status of development of the MVS

## Slide 9: Use case definition (WP3.1)
High-Level Use Case (HLUC)
  Generic concepts describing involved actors but not processes
Primary Use Case (PUC)
  UC defined with clear boundaries
  Necessary to fullfill to adress HLUC
Secondary Use Case (SUC)
  More granular, less abstract description of core functionalities

## Slide 10: High-Level Use Cases
“Energy Management System (EMS) integration with DER and BMS”:
  Integration of various systems
  Modelling interoperability of ES
Optimization of operation of LES
  Optimal (day-to-day) operation
Optimal sizing of a Local Energy System
  New investments into assets (energy production, storage)

## Slide 11: Primary Use Cases (PUCs) and the pilots

## Slide 12: Walqa Technology Park, Spain

## Slide 13: UVTgv University Campus, Romania

## Slide 14: Port of Borg, Norway

## Slide 15: Agenda
MVS in the context of E-Land
MVS development
Outlook: Next steps of the tool development
Requirements (WP3.2)
Use cases (WP3.1)
Current status of development of the MVS

## Slide 16: Functional requirements
WP 3.2 described in detail the tasks the MVS has to perform
  Automatic generation of LES
  Solving LES
  Manual set-up of LES (custom components)
  Optimization results
  Integrated assets of production/conversion
  Setting the optimization goal
  Specific energy cost models
  Load profiles
  Data processing for asset parameters
  Introducable constraints

## Slide 17: Non-Functional requirements
Additional requirements set for MVS in WP 3.2
  Preprocessing of model input
  Postprocessing of model results
  Communication between MVS/ESB
  Time-step lenghts
  Interface for technical parameter setting
  Interface for economic parameter setting

## Slide 18: Agenda
MVS in the context of E-Land
MVS development
Outlook: Next steps of the tool development
Requirements (WP3.2)
Use cases (WP3.1)
Current status of development of the MVS

## Slide 19: General MVS modular structure

## Slide 20: Modular structure of the MVS
mvs_eland_tool
  A_initialization
  B0_data_input
  C0_data_processing
  D0_modelling_and_optimization
  E0_evaluation
  F0_output
Tool still under development. Can be found in: https://github.com/smartie2076/mvs_eland

## Slide 21: Possible components of the MVS
PV Generation
Wind Generation
Electricity Storage Systems
Gas Boilers
HVAC Systems
Solar Thermal Generation
Hot Water Thermal Storage
Hydrogen-based Storage Systems
Geothermal Conversion
LNG Storage Systems
Electrolyser
Additionally: External energy providers, project data, general economic data
A lot of information to input and process

## Slide 22: User input: Excel file
As an intermediary, an Microsoft Excel file is used for user input:
  All project parameters
  Information concerning energy sectors
  Technical and economic parameters of assets
  Demand profiles (via .csv-files)
Excel Template: https://github.com/smartie2076/mvs_eland/blob/master/inputs/test_input_file_v1.xlsx

## Slide 23: User Input: Web application
E-Land collegues ICOM from Greece develop interactive web-application
  Data input
  Execution of MVS (stored on server)
  Postprocessing and vizualization
Data exchange format with MVS: JSON
Standalone usage of the MVS from the toolbox will be continued
This process has just kicked-off

## Slide 24: User Input: Web application

## Slide 25: User Input: Web application

## Slide 26: User Input: Web application

## Slide 27: Modular structure of the MVS
mvs_eland_tool
  A_initialization
  B0_data_input
  C0_data_processing
  D0_modelling_and_optimization
  E0_evaluation
  F0_output
Tool still under development. Can be found in: https://github.com/smartie2076/mvs_eland

## Slide 28: Agenda
MVS in the context of E-Land
MVS development
Outlook: Next steps of the tool development
Requirements (WP3.2)
Use cases (WP3.1)
Current status of development of the MVS

## Slide 29: Development status of the MVS
Adapted to simulate BIKS (1st step)
Sole electricity system model
Optimization goal: Decrease peak demand pricing costs by installing PV and storage

## Slide 30: BIKS: Current intermediate output

## Slide 31: Agenda
MVS in the context of E-Land
MVS development
Outlook: Next steps of the tool development
Requirements (WP3.2)
Use cases (WP3.1)
Current status of development of the MVS

## Slide 32: Next extensions
Implement multiple transformer stations to mirror peak demand pricing of BIKS
Add post-processing
  Graphs
  Scalar output
  Key performance indicators (KPI)
Change input-format to json
Restructure/clean automatized generation of energy system models
Clean project parameter dictionary
Reach out to other pilots and integrate their needs

## Slide 33
Tel: +49 (0)30 1208 434 0
E-Mail: sarah.berendes@rl-institut.de
Web: http://www.rl-institut.de
Twitter: @rl_institut
License
Except where otherwise noted, this work and its content (texts and illustrations) are licensed under the Attribution 4.0 International (CC BY 4.0)
See license text for further information.
THANK YOU FOR YOUR ATTENTION !
How to follow Oemof’s activities?
Website: https://oemof.org/
Github: https://github.com/oemof
Or join our mailing list!
Please quote as: “PRESENTATION TITLE” © Reiner Lemoine Institut | CC BY 4.0